2015년 뇌파전임의 인증시험 출제 범위

출제 범위: 신생아 뇌파를 제외한 소아, 성인 뇌파

문제 출제 및 범위에 출제될 중요 주제

1)  EEG Recording Techniques

- Techniques of EEG recording including head measurement

- Electrode placement (International 10-20 & 10-10 System) & application techniques

- Impedance measurements,

- Activation procedures

- Electrode types and properties

2) Basic Principles of Analog & Digital EEG Recording

- Amplifier, sensitivity & gain,

-High and low filters,

- Frequency response curves, time-constant, band width, notch filter,

- Measurements of voltage,

-Frequency & duration; concepts of digital EEG recording, analog-to-digital conversion (ADC)

- Horizontal and vertical resolution, sampling rate,

- Aliasing, Nyquist frequency, bit capacity,

screen or monitor display (sensitivity scale and pixel resolution)

- Further knowledge if you want

Export EEG data to analysis program.

: convert EEG data from time domain to frequency domain

Coherence, cross correlation, concept of Fourier and wavelet analysis

3) Polarity and Localization

- Polarity convention; various montages including standard bipolar and referential montages,

average reference and Laplacian  reference

- Localization using various montages; montage reformatting

- difference between pediatric recording, adult recording

brain death montage

- Further knowledge if you want

;  concept source localization of dipole and distributed model

4) Artifacts

- All physiological and non-physiological artifacts; examples and tips of recognizing them

5) Normal waking and sleep EEG from infant to Adult & Elderly/ normal variant patterns

- Normal awake and normal sleep patterns:

alpha, beta, theta, delta waves, mu, lumbda waves, POST, Vertex sharp transients, spindles,

K-complex, normal responses to hyperventilation and photic stimulation, etc

- Normal EEG in Children

; Normal patterns of various ages from neonates up to adolescents;

minimum standard of pediatric EEG recording

- Drowsy patterns

- Changes in EEG in the elderly

- Normal Variants & Uncommon Patterns of Doubtful Significance

: SSS/BETS, wickek spikes, psychomotor variants, 14&6, breech rhythm, SREDA, alpha variants,

phantom spike-waves

- Orderly approach of EEG interpretation and result reporting

- Tips on Reading and Reporting EEG --“EEG reading made easy”

; principles of interpretation

general classification of abnormal EEGs

elements of EEG reports

how to make good reports

6) Epileptiform Patterns

- dipole , solid angle theory

- Concept and Definition of epileptiform patterns

- Neural generator of IED

- Types & recognition of various inter-ictal epileptiform patterns

: sharp waves, spikes, polyspikes, 3HzSWC, 4-6HzSWC, Slow-SWC,

photo-paroxysmal responses, hypsarrhythmia) and ictal patterns

- Differentiate interictal from ictal patterns

: recognition of ictal discharges and localization

ictal patterns

- Significance of Video-EEG monitoring

Semiology of epileptic seizure

differentiation of epileptic seizure and nonepileptic seizure

7) EEG Patterns in Specific Epilepsy Syndrome

- EEG patterns of common focal (e.g. Benign Rolandic Epilepsy, Benign Epilepsy of Cildhood with Occipital Paroxysms) and generalized (West Syndrome, Lennox-Gastaut Syndrome, Absence Epilepsy, Juvenile Myoclonic Epilepsy, etc) epilepsy syndromes

8) Specific EEG patterns and significances and non-epileptic patterns -focal and diffue

; Slow waves, coma and stupor patterns, other encephalopathic patterns (e.g. triphasic waves, generalized periodic complexes, PLEDs, etc), suppression of EEG, burst suppression ----

back ground asymmetry ----

9) EEG in Status Epilepticus

- Clinical & EEG Definition of SE

-Differentiate simple EEG seizures from EEG SE

- Differentiation of SE and metabolic encephalopathy

10) Use of EEG in the Management of Seizure and Non-Seizure Disorders-An Overview

- History of EEG development

- Strength and limitations of EEG

- Yields of finding abnormality

: epileptiform patterns in patient with & without seizure disorders

-Use of long-term EEG monitoring in patients with refractory epilepsy

use of EEG in treatment & prognosis of epilepsy

-Use of EEG in non-seizure disorders

(e.g. CVA, toxic, metabolic, and infectious conditions, brain tumors, head trauma, headaches, etc)

-Difference of MEG and EEG and its usefulness

11) EEG report form (EEG reporting)

참고가 되는 EEG book 선정

Ebersole and Pedley. Current Practice of Clinical Electroencephalography 3rd Ed